## Slide 1: How to Replace Kitchen Sink
Haifei Cheng
2025-04-02

## Slide 2: Outline
Background
Preparation
Steps
Challenge
  Hook
  Leak
Acknowledgement

## Slide 3: Task: Replace the aging kitchen sink

## Slide 4: Preparation
Check the exiting sink
  Dimension
  Drop-in v.s. Undermount
Watch tutorials in Youtube
Timing planning
Make a shopping list:

## Slide 5: Step 1 – Remove old sink
Close the water valves.
Make sure food disposer is not connected with the dish washer.
Unplug food disposer power line.
Detach the food disposer.
  Frequently take pictures, and pay attention to how to put it back later.
Use putty knife to detach old sink with the counter.

## Slide 6: Step 2 – Align and Test
Sink cutout is slightly small then the sink
Use painter tape to mark the position
Test using screw to secure the sink to the cutout

## Slide 7: Challenge 1
Front and back edge is too thick for the hook screw
Buy new screw?

## Slide 8: Solution
Drill rectangular holes on frond and back edges. 4 holes each side.

## Slide 9: Step 3 – Install Sink
Apply Silicon gel
Tighten the screw
Clean the excessive gel around the sink edge

## Slide 10: Step 4 – Install Food Disposer
Pipe is not high enough to match the outlet of food disposer.

## Slide 11: Challenge 2
Pipe leak
No same diameter P-Trap in Home Depot.
Solution: Thread seal tape

## Slide 12: Final product
Joyful every time I use it.

## Slide 13: 4 Trips to Home Depot
Trip 1:
  Talk with plumber.
  Buy accessories.
Trip 2:
  Looking for long screws.
  Get additional silicon gel.
Trip 3:
  Talk with plumber about short pipe
  Buy pipe cutter and extended pipe
Trip 4:
  Return unused accessories.

## Slide 14: Acknowledgement
Internet
The Home Depot
US civil construction standard
Small antidote
  Converting HEIC to JPG

## Slide 15: Future work
How to get rid of the old sink?

## Slide 20: My family

## Slide 21: Hobbies – Were

## Slide 22: Hobbies – Are

## Slide 23: Hobbies - Mind Random Walk
1:00 am?
Notes: Where is boundary, how to understand 4D space.

## Slide 24: Hobbies – Mind Random Walk
Notes: Where is boundary, how to understand 4D space.